## Danh muc chao gia
BIDIPHAR – MỜI CHÀO GIÁ PHỤ KIỆN QC-HO ¦ ĐỀ NGHỊ 194/2026/QC ¦ AGILENT
Địa điểm giao hàng: Bidiphar, Quy Nhơn ¦ Ngày cần hàng theo đề nghị: 15/12/2026 ¦ Hạn nhận báo giá: 15h30, 04/11/2026
STT (theo ĐN) | Hãng / Nhóm | Tên linh kiện | Part No. / Code | Thiết bị sử dụng / tương thích | ĐVT | Số lượng | Tham gia báo giá (Có/Không) | PA A: giá trọn gói chỉ vật tư (VND, đã VAT + vận chuyển) | Thời gian giao hàng (ngày) | Xuất xứ / Chính hãng / Chứng từ | Bảo hành / Đổi trả | Ghi chú / Mã thay thế (nếu có)
1 | Agilent | Seal hoder | 5042-8952 | HPLC Agilent LC1260 | Cái | 2
2 | Agilent | Cabinet Kit ALS (Vỏ máy) | G7129-68713 | HPLC Agilent LC1260 | Bộ | 1
3 | Agilent | Gripper Assembly (Tay gắp autosampler) | G1313-60010 | HPLC Agilent LC1260 | Cái | 1
4 | Agilent | Needle-Arm-Unit NeedleStation | G7129-60707 | HPLC Agilent LC1260 | Cái | 1
5 | Agilent | Injection valve | 5067-4245 | HPLC Agilent LC1260 | Cái | 1
6 | Agilent | Metering Device | G7129-60081 | HPLC Agilent LC1260 | Cái | 1
7 | Agilent | PM Kit Pump | G1310-68741 | HPLC Agilent LC1260 | Bộ | 6
8 | Agilent | PM kit Seal wash | G1310-68742 | HPLC Agilent LC1260 | Bộ | 2
9 | Agilent | PM kit ALS | G7129-68740 | HPLC Agilent LC1260 | Bộ | 2
10 | Agilent | Purge valve | G7111-60061 | HPLC Agilent LC1260 | Cái | 1
11 | Agilent | Body AIV | G1312-60025 | HPLC Agilent LC1260 | Cái | 1
12 | Agilent | Capillary outlet valve to damper | G7111-81601 | HPLC Agilent LC1260 | Cái | 1
13 | Agilent | Capillary 900 mm, 0.17 mm | 5500-1217 | HPLC Shimadzu LC2030 | Cái | 4